## Sheet1
Key		Description	Type	Value
lastSensorTS		Sensor timestamp (not used)	INT	0
medicalDeviceTimeAsString		Pump time	STRING	YYYY-MM-DDTHH:MM:SS.MS-00.00
lastSensorTSAsString			STRING
kind		Pump type	STRING	BLENGP
version			INT	2
pumpModelNumber		Pump model number	STRING	MMT-1886
currentServerTime		Server timestamp	TIMESTAMP
lastConduitTime			TIMESTAMP	0
lastConduitUpdateServerTime			TIMESTAMP
lastMedicalDeviceDataUpdateServerTime			TIMESTAMP
firstName		Patient first name	STRING
lastName		Patient last name	STRING
conduitSerialNumber			STRING
conduitBatteryLevel		Phone battery level (%)	INT	0..100
conduitBatteryStatus		Phone battery status	STRING	LOW, / MEDIUM, / FULL
conduitInRange		Phone in range	BOOLEAN	true,false
conduitMedicalDeviceInRange		Pump in range	BOOLEAN	true,false
conduitSensorInRange		Sensor in range	BOOLEAN	true,false
medicalDeviceFamily		Device family	STRING	NGP
sensorState		Sensor state	STRING	WARM_UP, / CALIBRATION_REQUIRED / CHANGE_SENSOR, / SEARCHING_FOR_SENSOR_SIGNAL, / DO_NOT_CALIBRATE, / NO_DATA_FROM_PUMP
medicalDeviceSerialNumber		Pump serial number	STRING
medicalDeviceTime			INT	0
sMedicalDeviceTime			STRING	YYYY-MM-DDTHH:MM:SS.MS-00.00
reservoirLevelPercent		Pump reservoir level (%)	INT
reservoirAmount			INT
reservoirRemainingUnits		Pump reservoir level (units)	INT
medicalDeviceBatteryLevelPercent		Pump battery level (%)	INT
sensorDurationHours		Sensor duration left (h)	INT
sensorDurationMinutes		Sensor duration left (min)	INT
timeToNextCalibHours		Time to sensor calib (h)	INT
timeToNextCalibrationMinutes		Time to sensor calib (min)	INT
calibStatus			STRING	LESS_THAN_THREE_HRS, / LESS_THAN_TWELVE_HRS, / DUENOW, / UNKNOWN
bgUnits			STRING	MGDL
timeFormat			STRING	HR_24
lastSensorTime			INT	0
sLastSensorTime			STRING	YYYY-MM-DDTHH:MM:SS.MS-00.00
medicalDeviceSuspended			BOOLEAN
lastSGTrend			STRING	NONE, / UP, / UP_DOUBLE, / UP_TRIPLE, / DOWN, / DOWN_DOUBLE, / DOWN_TRIPLE
lastSG		Last sensor glucose data	DICT
	sg	Sensor glucose value	INT
	kind		STRING	SG
	version		INT	1
lastAlarm		Last pump alarm	DICT
	code	Alarm code	INT
	datetime	Alarm time	STRING
	type	Alarm type	STRING	ALERT
	flash		BOOLEAN	true,false
	instanceId		INT
	messageId		STRING
	pumpDeliverySuspendState		BOOLEAN	true,false
	referenceGUID		UUID
	kind		STRING	ALERT
	version		INT	1
activeInsulin		Active insulin data	DICT
	amount	Active insulin value	INT
	kind		STRING	Insulin
	version		INT	1
therapyAlgorithmState			DICT
	autoModeShieldState		STRING	SAFE_BASAL / AUTO_BASAL
	autoModeReadinessState		STRING	NO_ACTION_REQUIRED
	plgmLgsState		STRING	FEATURE_OFF
	safeBasalDuration		INT
	waitToCalibrateDuration		INT
pumpBannerState			LIST
	type		STRING	DELIVERY_SUSPEND / TEMP_TARGET
basal	activeBasalPattern		STRING	BASAL1
	basalRate		INT
systemStatusMessage		System status	STRING	NO_ERROR_MESSAGE, / CALIBRATION_REQUIRED, / UPDATING

clientTimeZoneName			STRING	"Central European Summer Time", / "Central European Standard Time"