## Sheet1
Key		Description	Type	Value
lastSensorTS		Sensor timestamp (not used)	INT	0
medicalDeviceTimeAsString		Pump time	STRING	YYYY-MM-DDTHH:MM:SS.MS-00.00
lastSensorTSAsString			STRING
kind		Pump type	STRING	BLENGP
version			INT	2
pumpModelNumber		Pump model number	STRING	MMT-1886
currentServerTime		Server timestamp	TIMESTAMP
lastConduitTime			TIMESTAMP	0
lastConduitUpdateServerTime			TIMESTAMP
lastMedicalDeviceDataUpdateServerTime			TIMESTAMP
firstName		Patient first name	STRING
lastName		Patient last name	STRING
conduitSerialNumber			STRING
conduitBatteryLevel		Phone battery level (%)	INT	0..100
conduitBatteryStatus		Phone battery status	STRING	LOW, / MEDIUM, / FULL
conduitInRange		Phone in range	BOOLEAN	true,false
conduitMedicalDeviceInRange		Pump in range	BOOLEAN	true,false
conduitSensorInRange		Sensor in range	BOOLEAN	true,false
medicalDeviceFamily		Device family	STRING	NGP
sensorState		Sensor state	STRING	WARM_UP, / CALIBRATION_REQUIRED / CHANGE_SENSOR, / SEARCHING_FOR_SENSOR_SIGNAL, / DO_NOT_CALIBRATE, / NO_DATA_FROM_PUMP
medicalDeviceSerialNumber		Pump serial number	STRING
medicalDeviceTime			INT	0
sMedicalDeviceTime			STRING	YYYY-MM-DDTHH:MM:SS.MS-00.00
reservoirLevelPercent		Pump reservoir level (%)	INT
reservoirAmount			INT
reservoirRemainingUnits		Pump reservoir level (units)	INT
medicalDeviceBatteryLevelPercent		Pump battery level (%)	INT
sensorDurationHours		Sensor duration left (h)	INT
sensorDurationMinutes		Sensor duration left (min)	INT
timeToNextCalibHours		Time to sensor calib (h)	INT
timeToNextCalibrationMinutes		Time to sensor calib (min)	INT
calibStatus			STRING	LESS_THAN_THREE_HRS, / LESS_THAN_TWELVE_HRS, / DUENOW, / UNKNOWN
bgUnits			STRING	MGDL
timeFormat			STRING	HR_24
lastSensorTime			INT	0
sLastSensorTime			STRING	YYYY-MM-DDTHH:MM:SS.MS-00.00
medicalDeviceSuspended			BOOLEAN
lastSGTrend			STRING	NONE, / UP, / UP_DOUBLE, / UP_TRIPLE, / DOWN, / DOWN_DOUBLE, / DOWN_TRIPLE
lastSG		Last sensor glucose data	DICT
	sg	Sensor glucose value	INT
	kind		STRING	SG
	version		INT	1
lastAlarm		Last pump alarm	DICT
	code	Alarm code	INT
	datetime	Alarm time	STRING
	type	Alarm type	STRING	ALERT / ALARM / MESSAGE
	flash		BOOLEAN	true,false
	instanceId		INT
	messageId		STRING
	pumpDeliverySuspendState		BOOLEAN	true,false
	referenceGUID		UUID
	kind		STRING	ALERT
	version		INT	1
activeInsulin		Active insulin data	DICT
	amount	Active insulin value	INT
	kind		STRING	Insulin
	version		INT	1
therapyAlgorithmState			DICT
	autoModeShieldState		STRING	FEATURE_OFF / SAFE_BASAL / AUTO_BASAL
	autoModeReadinessState		STRING	NO_ACTION_REQUIRED / BG_RECOMMENDED
	plgmLgsState		STRING	FEATURE_OFF / SUSPEND_FIRED_LGS / REFRACTORY_PERIOD
	safeBasalDuration		INT
	waitToCalibrateDuration		INT
pumpBannerState		Pump banner state	LIST
	type		STRING	DELIVERY_SUSPEND / BG_REQUIRED / SUSPENDED_ON_LOW / TEMP_TARGET
	timeRemaining	Minutes remaining	INT
basal	activeBasalPattern		STRING	BASAL1
	basalRate		INT	0
systemStatusMessage		System status	STRING	NO_ERROR_MESSAGE, / WARM_UP, / CALIBRATION_REQUIRED, / UPDATING, / RECONNECTING_TO_PUMP, / SENSOR_OFF, / DO_NOT_CALIBRATE, / BLUETOOTH_OFF,PUMP_PAIRING_LOST

clientTimeZoneName			STRING	"Central European Summer Time", / "Central European Standard Time"